## Sheet1
[10 empty] | Likelihood 可能性 | [5 empty] | Consequence 严重程度
Likelihood | Consequence | NO. 编号 | Genearation 1 第一级 | NO. 编号 | Genearation 2 第二级 | NO. 编号 | Genearation 3第三级 Basic risk items or risk attributes 基本风险因子 | Data source 数据来源 | Comments 标注/解释 | Very low 非常低 1 | Low 低 2 | Medium 中等 3 | High 高 4 | Very High 非常高 5 |  | Very Unimportant 非常不重要 1 | Unimportant 不重要 2 | Neutral 中等重要 3 | Important 重要 4 | Very Important 非常重要 5
1 | 1 | X1,01 | Final aggregative risk, X1,01 综合风险 | 1, X1,12 | 水源 Source water, X1,12 | 1-1a, X1a,13 | Water quantity_dry season, 水量_干旱 Drought Index: Standardized precipitation index(SPI) 干旱指数：标准化降水指数（SPI） | 根据降雨量计算得知 | Question of availability of source water quantity, sufficient to meet water demands 干旱时是否可以满足用户用水需求? | Always sufficient to provide the any use of water 0.5>SPI>-0.5, near normal 水量对任何用途一直是够用的，0.5>SPI>-0.5无旱 | Occasionally not sufficient-but sufficient most of the time -1.0<SPI≤-0.5, mildly dry 偶尔不够 - 但大部分时间都足够了-1.0<SPI≤-0.5，轻旱 | Sometimes not sufficient-When there is little rainfall, there is water shortage for other water except domestic water -1.5<SPI≤-1.0, moderately dry 中旱 | Because of the limitation of water availability or tank storage or for other reasons, only enough to provide drinking water -2.0<SPI≤-1.5, severely dry 重旱 | Always water shortages to provide drinking water and for basic sanitation needs SPI≤-2.0, extremely dry 特旱 |  | Alternative sources are available that are adequate in terms of quality and quantity 无论从水质还是水量来说，可利用的水源是足够的 | Alternative sources are available but does involve additional effort and expense 虽有可替代的可利用水源，但是可能需要一些额外的费用 | Some alternatives exist so issue is able to be addressed 还有一些替代方案可以解决问题 | Alternative sources exist such as tank truck delivery but unknown about the quality of such water 还有一些其他水源可供利用，但是水质情况无法保证 | No alternative reliable sources of water and hence quantity and potentially quality issues exist 没有其他可靠的水源，因此也存在潜在的水量和水质问题
1 | 1 |  |  |  |  | 1-1b, X1b,13 | Water quantity_wet season (provision must be made for differences between groundwater and surface water sources (e.g. algae) 水量_洪涝 Flood Index: Standardized precipitation index(SPI) 洪涝指数：标准化降水指数（SPI） | 根据降雨量计算得知 | Potential for flooding to impact source water e.g. turbidity, or bringing large runoff from contaminated/mining tailings ponds. 发生洪涝灾害对水源设备和水质的影响，地表水供水 | Very low (intake is at a high location & hence, not threatened 0.5>SPI>-0.5, near normal 无涝 | Water intake is at a mildly protected location (e.g. intake is protected from excessive damage) & hence, occasionally threatened 0.5≤SPI<1.0, mildly wet 轻涝 | Water intake is moderately exposed & hence, sometimes threatened 1.0≤SPI<1.5, moderately wet 中涝 | Water intake is exposed to damage or water quality deterioration & hence, probably threatened 1.5≤SPI<2.0, severely wet 重涝 | Water intake is susceptible to frequent flooding) SPI>=2.0, extremely wet 特涝 |  | Water source is relatively protected against high water events, elevated suspended solids and or toxic algae 水源所处位置是相对安全的，不会受到高水位、悬浮固体及有毒藻类的威胁。 | Alternative sources are available but does involve additional effort and expense 水源相对安全，但是偶尔会受到洪涝灾害的威胁，但是有可替代的可利用水源，不过可能需要一些额外的费用 | Some alternatives exist so issue is able to be addressed 水源有可能会受到威胁，但还有一些替代方案可以解决问题 | Alternative sources exist such as tank truck delivery but unknown about the quality of such water 水源极有可能会收到威胁，但还有一些其他水源可供利用，但是水质情况无法保证 | Water sources will be contaminated or destroyed due to flooding 水源经常受到洪涝灾害的威胁，且没有其他可靠的水源，因此也存在潜在的水量和水质问题
1 | 1 |  |  |  |  | 1-1c, X1c,13 | Water quantity_The efficiency of rainwater harvesting 水量_集水效率 | (250-500mm, Concrete,73-80, From the book "Theory and Practice of Rural Rainwater Storage and Utilization" in page 123) 根据用户所用的集水面材料得知集水效率 | The efficiency of rainwater harvesting influence the water quantity(%) 集水效率影响水量（%） | >85 | 70-85 | 50-70 | 30-50 | <30 |  | Alternative sources are available that are adequate in terms of quality and quantity 无论从水质还是水量来说，可利用的水源是足够的 | Alternative sources are available but does involve additional effort and expense 虽有可替代的可利用水源，但是可能需要一些额外的费用 | Some alternatives exist so issue is able to be addressed 还有一些替代方案可以解决问题 | Water quantity or quality might be not available 还有一些其他水源可供利用，但是水质情况无法保证 | No alternative reliable sources of water and hence quantity and potentially quality issues exist 没有其他可靠的水源，因此也存在潜在的水量和水质问题
1 | 1 |  |  |  |  | 1-1d, X1d,13 | Water quantity_Total volume of the rainwater storage tank 水量_水窖总容积/户 | Each tank averages 30-40m3,there are one or two tanks per house 调查用户水窖总容积 | Total volume of the rainwater storage tank(How much the maximum amount of precipitation it can accommodate?)/m3 所用水窖数量/总容积/翻新改建情况/m3 | >=90 | 70-90 | 50-70 | 40-50 | <40 | Assume that there are Six people per household, and total annual water demands are 84m3. | Alternative sources are available that are adequate in terms of quality 无论从水质还是水量来说，可利用的水源是足够的 | Alternative sources are available but does involve additional effort and expense 虽有可替代的可利用水源，但是可能需要一些额外的费用 | Some alternatives exist so issue is able to be addressed 还有一些替代方案可以解决问题 | Alternative sources exist such as tank truck delivery but unknown about the quality of such water 还有一些其他水源可供利用，但是水质情况无法保证 | No alternative reliable sources of water 没有其他可靠的水源，因此也存在潜在的水量和水质问题
1 | 1 |  |  |  |  | 1-2, X2,13 | Pathogens 病原菌 | Water quality inspection report 采集水样检测大肠杆菌含量 | E.coli concentration: Not mentioned by the WHO, 0 in 250 ml guideline in the EU standards) 大肠杆菌浓度：不得检出 | E.coli concentrations are always zero 大肠杆菌含量为0 | E.coli concentrations are primarily very low but occasional exceedances (once a year) 大肠杆菌浓度一般处于非常低的水平，但偶尔超标（每年一次） | E.coli concentrations are generally low but sometimes elevated levels exist (e.g. five times a year but less than ten times a year) 大肠杆菌浓度通常较低，但有时会升高（例如一年五次但每年少于十次） | E.coli concentrations are frequently low but exceedances exist on a regular basis ten times a year twenty times a year 大肠杆菌浓度通常较低，但有规律性地超标每年十次少于每年二十次 | E.coli concentrations are frequently very high indicating a high likelihood of elevated levels 大肠杆菌浓度通常非常高 |  | If the water quality is good, there may not be illness or other impact for consumers 水质良好，并不会对消费者健康产生不良影响 | There are not threat to consumers but does involve additional effort and expense 水质一般，但是对消费者健康没有威胁，但是可能会需要附加费用 | Some alternatives exist so issue is able to be addressed 虽然有其他水源可供利用，但是仍有病原菌的威胁 | Alternatives exist but may suffer from other water quaility problem 虽然有其他水源可供利用，但是水质情况无法保证 | If E.coli is very high, there are severe potentials for diarrhoea in infants and adults 如果大肠杆菌超标，极有可能造成婴幼儿和成年人腹泻及其他疾病
1 | 1 |  |  |  |  | 1-3a, X3a,13 | Other chemial parameters_such as Arsenic 其他化学物质_砷 | Water quality inspection report 采集水样检测砷物质含量 | 10 µg/L guideline in the WHO standards 标准小于10ug/L | Arsenic concentrations are always less than 10 µg/L 砷浓度经常小于10 µg/L | Arsenic concentrations are mostly less than 10 µg/L but exceeds once a year 砷浓度大多低于10 µg/L，但每年会超过一次 | Arsenic concentrations are mostly less than 10 µg/L but exceeds five times a year but less than ten times a year 砷浓度大多低于10 µg/L，但一年超过五次，但一年少于十次 | Arsenic concentrations are mostly less than 10 µg/L but exceeds ten times a year twenty times a year 砷浓度大多低于10µg/L，但一年超过10次，少于每年二十次 | Arsenic concentrations are mostly less than 10 µg/L but exceeds more than twenty times a year 砷浓度大多低于10µg/L，但一年超过20次 |  | If the water quality is good, there may not be illness or other impact for consumers 水质良好，并不会对消费者健康产生不良影响 | There are not threat to consumers but does involve additional effort and expense 水质一般，但是对消费者健康没有威胁，但是可能会需要附加费用 | Some alternatives exist so issue is able to be addressed 虽然有其他水源可供利用，但是仍有砷物质的威胁 | Alternatives exist but may suffer from other water quaility problem 虽然有其他水源可供利用，但是水质情况无法保证 | Definite concern with arsenic as it is a carcinogen 砷指标超标，极有可能致癌
1 | 1 |  |  |  |  | 1-3b, X3b,13 | Other chemical parameters_such as Fluoride 其他化学物质_氟化物 | Water quality inspection report 采集水样检测氟化物含量 | 1.5 mg/L guideline in the WHO standards, 1.0 mg/L guideline in the China standards 标准<1.5mg/L | Fluoride concentrations are always less than 1 mg/L 氟化物浓度经常小于1mg/L | Fluoride concentrations are mostly less than 1 mg/L but exceeds once a year 氟化物浓度大多小于1mg/L，但每年会超标一次 | Fluoride concentrations are mostly less than 1 mg/L but exceeds five times a year but less than ten times a year 氟化物浓度大多低于1mg/L，但一年超过五次，但每年少于十次 | Fluoride concentrations are mostly less than 1 mg/L but exceeds ten times a year twenty times a year 氟化物浓度大多低于1mg/L，但一年超过十次少于每年二十次 | Fluoride concentrations are mostly less than 1 mg/L but exceeds more than twenty times a year 氟化物浓度大多小于1mg/L，但一年超过20次 |  | If the water quality is good, there may not be illness or other impact for consumers 水质良好，并不会对消费者健康产生不良影响 | There are not threat to consumers but does involve additional effort and expense 水质一般，但是对消费者健康没有威胁，但是可能会需要附加费用 | Some alternatives exist so issue is able to be addressed 虽然有其他水源可供利用，但是仍有氟化物的威胁 | Alternatives exist but may suffer from other water quaility problem 虽然有其他水源可供利用，但是水质情况无法保证 | If fluoride is high, potential for bone deformation, deterioration of teeth, brown blotches on skin 如果氟化物含量高，可能导致消费者骨骼变形，牙齿变质，皮肤上出现棕色斑点等
1 | 1 |  |  | 2, X2,12 | 水处理技术（水厂） Treatment Technology, X2,12 | 2-1, X4,23 | Reliability to attain treated quality 水处理技术的可靠性 | According to a special questionnaire survey and field research 通过实地调研得知 | Robustness of water treatment technology, to treat the water as desired, for subsequent water uses 是否可有效及时的进行水处理，处理效率 | Water quality is very good. All applicable WHO water quality (drinking water quality) guideline parameters can be met consistently 水质非常好，所有水质参数都能满足WHO标准 | Occasional exceedances of desired water quality for pathogen exposures 偶尔会有病原菌产生 | Somestimes exceedances of desired water quality for pathogen exposures or other chemical parameters 有时会有病原菌或化学污染物产生 | Frequently exceedances of desired water quality for pathogen exposures or other chemical parameters will not likely be occurring (not confirmed but certainly precautionary) 虽然病原菌或其他化学污染物不会频繁的发生，但是会有频繁发生的趋势 | Water quality is poor, highly contamination - no treatment technology employed 水质很差，受污染很严重，没有水处理技术 |  | If the water quality is good, there may not be illness or other impact for consumers 水质良好，并不会对消费者健康产生不良影响 | There are not threat to consumers but does involve additional effort and expense 水质一般，但是对消费者健康没有威胁，但是可能会需要附加费用 | Some alternatives exist so issue is able to be addressed 还有一些替代方案可以解决问题 | Alternatives exist but may suffer from other water quaility problem 虽然有其他水源可供利用，但是水质情况无法保证 | If water quality is poor, illness could be catastrophic for consumers 如果水质很差，将会对消费者造成灾难性的疾病
1 | 1 |  |  |  |  | 2-2, X5,23 | Monitoring to ensure quality, is relibility provided 监测设备可靠性 | According to a special questionnaire survey and field research 通过实地调研得知 | Monitoring protocols to determine/characterize quality of water 是否可及时监测和预警水质情况 | Frequency and comprehensiveness of treated water, for monitoring/protecting of consumers is adequate 有较完整的监测设备，可监测试水量和水质 | There are monitoring protocols, but occasionally fail to ensure quality of water are available (either through not monitoring correctly or sensors are not operating) 有监测设备，但是可能会偶尔发生故障，无法保证水质情况 | There are monitoring protocols, but sometimes fail to ensure quality of water is acceptable 有监测设备，但是有时会发生故障 | There are limited monitoring protocols and/or not operational, so potential for failure to ensure quality of water is acceptable 虽然有监测设备，但是是坏的，极有可能无法保证水质可靠性 | No monitoring and hence, no knowledge of quality of water being provided 没有监测设备，所以对水质情况一无所知 |  | If the water quality is good, there may not be illness or other impact for consumers 水质良好，并不会对消费者健康产生不良影响 | There are not threat to consumers but does involve additional effort and expense 水质一般，但是对消费者健康没有威胁，但是可能会需要附加费用 | Some alternatives exist so issue is able to be addressed 还有一些替代方案可以解决问题 | Alternatives exist but may suffer from other water quaility problem 虽然有其他水源可供利用，但是水质情况无法保证 | If water quality is poor, illness could be catastrophic for consumers 如果水质很差，将会对消费者造成灾难性的疾病
1 | 1 |  |  |  |  | 2-3, X6,23 | Chemical and disinfection system are avaliable 化学和消毒系统可靠性 | According to a special questionnaire survey and field research 通过实地调研得知 | Chemical contamination (by itself, treatment technology is not very effective at removing arsenic and fluoride, as an example) 水处理中消毒系统是否有效，是否可以处理水中污染物，如氟化物、砷等 | All applicable WHO water quality (drinking water quality) guideline parameters except microbiological parameters never exceeded 水质非常好，除微生物参数外，所有水质参数都能满足WHO标准 | All applicable WHO water quality (drinking water quality) guideline parameters except microbiological parameters exceeded 2 times a year and less than 5 times a year 除微生物参数外，所有水质（饮用水水质）参数均每年超标小于5次 | All applicable WHO water quality (drinking water quality) guideline parameters except microbiological parameters exceeded 5 times a year and less than 10 times a year 除微生物参数外，所有水质（饮用水水质）参数均每年超标5-10次 | All applicable WHO water quality (drinking water quality) guideline parameters except microbiological parameters exceeded ten times a year and less than 15 times a year 除微生物参数外，所有水质（饮用水水质）参数均每年超标10-15次 | All applicable WHO water quality (drinking water quality) guideline parameters except microbiological parameters exceeded fifteen times a year and less than 30 times a year 除微生物参数外，所有水质（饮用水水质）参数均每年超标15-30次 |  | If the water quality is good, there may not be illness or other impact for consumers 水质良好，并不会对消费者健康产生不良影响 | There are not threat to consumers but does involve additional effort and expense 水质一般，但是对消费者健康没有威胁，但是可能会需要附加费用 | Some alternatives exist so issue is able to be addressed 还有一些替代方案可以解决问题 | Alternatives exist but may suffer from other water quaility problem 虽然有其他水源可供利用，但是水质情况无法保证 | If water quality is poor, illness could be catastrophic for consumers 如果水质很差，将会对消费者造成灾难性的疾病
1 | 1 |  | 1 |  |  | 2-4, X7,23 | Operator needs to be trained 工作人员培训 | According to a special questionnaire survey and field research 通过实地调研得知 | Does the operators be trained? 操作员是否经过训练，是否有应对突发事件的能力 | Yes, all of them are trained, and they are skilled in the operation process 所有的操作员都经过培训，且熟练掌握操作过过程 | Yes, all of them are trained, but they are not skilled in the operation process 所有的操作员都经过培训，但并不能熟练掌握操作过程 | Some of them are trained, but they not skilled in the operation process 一部分人经过培训，但是并不能熟练掌握操作过程 | only one or two are trained, no one is skilled in the operation process 只有一两个操作员经过培训，但是没有人能熟练掌握操作过程 | Never be trained, none of them are skilled in the opertaion process 没有人经过培训，且没有人能熟练掌握操作过程 |  | If there are experienced operator, both water quantity and quality are availiable 水量和水质都是可靠的 | If there is an emergency, and no experienced operators, water quantity or quality might be not available 没有经验丰富的分处理紧急事故，水量和水质有可能不可靠 | There mighe be some errors of untrained operator,water quantity or quality might be not available 未经培训的操作员可能会出现一些错误，水量或质量可能不可用 | If there are no back up for employee, water quantity or quality could be not available 如果没有可替代的操作员，则水量或水质不可用 | If there are errors of untrained or inexperienced operator, and no back up for employee, water quantity or quality could be not available 如果操作员没有经过培训或没有经验的操作人员出现错误，并且没有可替代的操作员，则可能无法提供水量或质量
1 | 1 |  |  | 3, X3,12 | 分配系统 Distribution system, X3,12 | 3-1, X8,33 | Integrity of water distribution system 分配系统完整性 | According to a special questionnaire survey and field research 通过实地调研得知 | e.g. age of pipe, potential of cracks, allowing ingress of contaminated groundwater? 是否有管道，是否有可能破裂或被地下水污染的可能性？ | The water distribution piping is relatively new 输水管相对较新 | The water distribution piping is deteriorating with age, and possibly exposed to occasional freezing conditions 输水管道的质量随着管龄的增长而变差，并有可能因为偶尔的寒冷天气冻裂 | The water distribution piping is deteriorating with age, and frequently exposed to occasional freezing conditions 输水管道的质量随着管龄的增长而变差，并有可能经常因为寒冷天气而冻裂 | Integrity of water distribution piping is not good (may allow ingress of contaminated water from groundwater), and frequently exposed to occasional freezing conditions 输水管道的完整性不好（可能允许来自地下水的污染水进入管道），并有可能经常因为寒冷天气而冻裂 | Integrity of water distribution piping is not good, allowing ingress of contaminated water 输水管道的完整性不好，使得污染物进入管道 |  | Water quantity and quality are available 水量和水质是可用的 | If the piping is possibly exposed to occasional freezing conditions, water quantity could be not available, and consumers might involve additional effort and expense 如果管道暴露于偶尔的冻结条件下，则可能无法获得充足的水量，消费者可能需要额外的费用 | There are always failure of piping, but Some alternatives exist so issue is able to be addressed 总是会发生管道故障，但存在一些替代方案，因此可以解决问题 | If pipes break, water quantity or quality might be not available 如果管道破裂，水量或质量可能不可用 | If pipes break, water quantity or quality could be not available, illness might be catastrophic for consumers 如果管道破裂，水量或质量不可用，且可能对消费者造成灾难性后果
1 | 1 |  |  |  |  | 3-2, X9,33 | Electricity to maintain pressure / pump itself fails 供电故障/水泵故障 | According to a special questionnaire survey and field research 通过实地调研得知 | Does the pump or the electricity fail? 会不会因为电力不足或故障而导致水泵无法工作或水泵故障等？ | Never in last 10 Years 过去十年从未发生过 | Once in Five Years 五年一次 | Once in Two Years 两年一次 | Once in one year 一年一次 | Several times a year 一年几次 |  | Water quantity are adequate 水量充足 | Alternative sources are available but does involve additional effort and expense 虽有可替代的可利用水源，但是可能需要一些额外的费用 | Some alternatives exist so issue is able to be addressed 还有一些替代方案可以解决问题 | Alternative sources exist such as tank truck delivery but unknown about the quality of such water 虽然有其他水源可供利用，但是水质情况无法保证 | No alternative reliable water quantity 没有可供使用的水源及水量
1 | 1 |  |  | 4, X4,12 | 用户储水环节 Storage at household level, X4,12 | 4-1, X10,43 | Integrity of the storage vessel for households 用户家用储水设备情况 | According to a special questionnaire survey and field research 通过实地调研得知 | Degree to which holding vessel is maintained/cleaned (what is the type of the technology (e.g. holding vessel, location, potential for cholera to grow if warm, etc.) 储水容器的类型（塑料桶/瓷缸），存放位置（干净程度），多久换新一次，会不会产生霍乱菌导致疾病（腹泻或痢疾等）的发生？ | Holding vessel is cleaned once daily and is located in safe place which is not open to environment and not used for other purposes 储水容器每天清洗一次，放置于干净无污染且封闭的地方，也不会用于其他用途 | Holding vessel is cleaned frequently, is located in a clean place and not open to environment, and relatively safe from external contamination 储水容器经常清洗，放置于一个相对干净且封闭的地方 | Holding vessel is cleaned weekly and is located in clean place which is not open to environment - water holding vessel is on a platform for ease of use by householder 储水容器一周清洗一次，放置于一个相对安全且封闭的地方 | Holding vessel is cleaned once a month and is located in clean place and is open to environment 储水容器一个月清洗一次，放置于干净，但对外开放的地方 | Holding vessel is cleaned twice a year and is located in dirty place and is open to environment 储水容器一年清洗两次，放置于较脏且对外开放的地方 |  | There are no worry about recontamination of water quality 水质良好，不用担心水质再次的污染 | There are potentials for pathogens in the holding vessel, but no threat to consumers 容器中可能存在潜在的病原体，但对消费者没有威胁 | There are mild potentials for pathogens in the holding vessel, but Some alternatives exist so issue is able to be addressed 容器中存在潜在的病原体，但存在一些替代方案，因此可以解决问题 | There are probably potentials for pathogens in the holding vessel, and may cause consumers ill 容器内可能存在病原体，可能导致消费者生病 | There are probably severe potentials for pathogens in the holding vessel, illness could be catastrophic for consumers 容器中存在的病原体对消费者带来是灾难性的疾病
1 | 1 |  |  |  |  | 4-2, X11,43 | Cleanliness of removal technology(e.g. what is the type of ladle used to remove water from the holding vessel?) 取水容器清洁程度 | According to a special questionnaire survey and field research 通过实地调研得知 | Ladle body and handle are always cleaned frequently and not used for other purposes 用的是什么材料取水（塑料/铜制品），取水容器是否干净，清洗频率 | Ladle body and handle are always cleaned as it done as often required 在取水前都会清洗 | Ladle body and handle are cleaned after two days and is located in safe place which is not open to environment - spigot may be soiled by children in the household 取水设施两天清洗一次，放置在较封闭的地方，但是水龙头有可能被弄脏 | Ladle body and handle are cleaned weekly and is located in clean place which is not open to environment 取水设施一种清洗一次，放置在安全且封闭的地方 | Ladle body and handle are cleaned once a month and is located in clean place and is open to environment 取水设施一月清洗一次，放置在干净，但对外开放的地方 | Ladle body and handle are cleaned twice a year and is located in dirty place and is open to environment 取水设施一年清洗两次，放置在较脏且对外开放的地方 |  | There are no worry about recontamination of water quality 水质良好，不用担心水质再次的污染 | There are potentials for pathogens in the ladle body and handle, but no threat to consumers 取水容器内部及手柄等可能存在潜在的病原体，但对消费者没有威胁 | There are mild potentials for pathogens in the ladle body and handle, but Some alternatives exist so issue is able to be addressed 取水容器内部及手柄等存在潜在的病原体，但存在一些替代方案，因此可以解决问题 | There are probably potentials for pathogens in the ladle body and handle, and may cause consumers ill 取水容器内部及手柄等可能存在病原体，可能导致消费者生病 | There are probably severe potentials for pathogens in the ladle body and handle, illness could be catastrophic for consumers 取水容器内部及手柄等存在的病原体对消费者带来是灾难性的疾病